## costs
Parameter | ecoinvent_391_reference | Unit | technology | Technology | Parameter | Value | Unit | Reference | wood_price_ton | 170 | €/ton
dr | 0.07 | [-] | generic | Generic | Discount rate | 0.07 | [-] |  | energy_kg_wood | 4.6389 | kWh/kg
project_lt | 30 | [years] |  |  | Project lifetime | 30 | [years] |  | wood price | 0.036647 | k€/MWh | 0.036647 | euro/kWh
pv_capex | 1100 | [k€/MWp] | pv_gm | Ground-mounted solar PV | CAPEX | 1100 | [k€/MWp] |  | h2_price_kg | 2 | €/kg H2
pv_om | 0.02 | [-] |  |  | O\&M | 0.02 | [-] |  | h2_price | 0.06 | k€/MWh
pv_lt | 30 | [years] |  |  | Lifetime | 30 | [years]
wind_on_capex | 1700 | [k€/MWp] | wind_on | Onshore wind | CAPEX | 1700 | [k€/MWp]
wind_on_om | 0.025 | [-] |  |  | O\&M | 0.025 | [-] |  | Technology | Sub | $\text{C}^{\text{inv}}$ [€/kW(h)] | $\text{C}^{\text{om}}$ | L [year] | $\eta$ | $\eta_q$ | $\delta^\text{min}$ | $\delta^\text{max}$ | $\tau$ [h] | $\Lambda$ [$\text{h}^\text{-1}$] | $\Pi$ [$\text{h}^\text{-1}$] | $\Psi$ [h] | $\Omega$ [h] | Refs.
wind_on_lt | 27 | [years] |  |  | Lifetime | 27 | [years] |  | Generation
wind_off_capex | 2700 | [k€/MWp] | wind_off | Offshore wind | CAPEX | 2700 | [k€/MWp] |  | Solar PV |  | 1100 | 0.02 | 30 | [9 empty] | \autocite{Bauer2022}
wind_off_om | 0.025 | [-] |  |  | O\&M | 0.025 | [-] |  | Onshore wind |  | 1700 | 0.025 | 27 | [9 empty] | \autocite{wiser2021expert,Bauer2022,Terlouw_h2_2022}
wind_off_lt | 27 | [years] |  |  | Lifetime | 27 | [years] |  | Offshore wind |  | 2700 | 0.025 | 27 | [9 empty] | \autocite{wiser2021expert,Bauer2022,Terlouw_h2_2022}
bat_en_capex | 200 | [k€/MWh] | battery | Li-ion Battery | Energy capacity - CAPEX | 200 | [k€/MWh] |  | Solar thermal | residential | 400 | 0.02 | 25 | 0.65 | [8 empty] | \autocite{GABRIELLI2018408}
bat_en_om | 0.02 | [-] |  |  | Energy capacity - O\&M | 0.02 | [-] |  | Storage
bat_en_lt | 13 | [years] |  |  | Energy capacity - Lifetime | 13 | [years] |  | Battery electricity | energy | 200 | 0.02 | 13 | 0.91 |  | 0.035 | 0.965 |  | 0.00054 |  |  |  | \autocite{Bauer2022,Terlouw_h2_2022}
bat_p_capex | 150 | [k€/MW] |  |  | Power capacity - CAPEX | 150 | [k€/MW] |  |  | power | 150 | 0.02 | 20 | [9 empty] | \autocite{Bauer2022,Terlouw_h2_2022}
bat_p_om | 0.02 | [-] |  |  | Power capacity - O\&M | 0.02 | [-] |  | Hydrogen |  | 10 | 0.02 | 23 | 1 |  | 0 | 1 | 4 |  |  |  |  | \autocite{petkov2020power,GABRIELLI2018408}
bat_p_lt | 20 | [years] |  |  | Power capacity - Lifetime | 20 | [years] |  | Conversion
bat_dod | 0.93 | [-] |  |  | Depth of discharge | 0.93 | [-] |  | Electrolyzer |  | 2000 | 0.02 | 7 | 0.57 |  | 0 | 1 | [5 empty] | \autocite{Bauer2022,Terlouw_h2_2022,christensen2020assessment}
bat_soc_min | 0.035 | [-] |  |  | State of charge (Min.) | 0.035 | [-] |  | Fuel cell |  | 1700 | 0.04 | 14 | 0.5 | 0.34 | 0 | 1 | [5 empty] | \autocite{petkov2020power,GABRIELLI2018408}
bat_soc_max | 0.965 | [-] |  |  | State of charge (Max.) | 0.965 | [-] |  | Diesel boiler | industrial | 120 | 0.02 | 20 | 0.85 |  | 0 | 1 | [5 empty] | \autocite{petkov2020power,GABRIELLI2018408}
bat_re | 0.91 | [-] |  |  | Roundtrip efficiency | 0.91 | [-] |  | Gas boiler | residential | 400 | 0.03 | 20 | 0.9 |  | 0 | 1 | [5 empty] | \autocite{panos2016role,herenvcic2021}
bat_eff_dis | 0.95394 | [-] |  |  | Discharge efficiency | 0.95394 | [-] |  | Heat pump | residential | 1500 | 0.01 | 19 |  |  | 0 | 1 | [5 empty] | \autocite{terlouw2023designing,panos2016role,PETROVIC2016787,TERLOUW2019_opt_resi}
bat_eff_ch | 0.95394 | [-] |  |  | Charging efficiency | 0.95394 | [-] |  | Wood gasification | industrial | 2000 | 0.03 | 20 | 0.84 |  | 0.1 | 1 | [5 empty] | \autocite{ROBINSON_cordis_2020}
bat_dis_loss | 0.00054 | [-] |  |  | Standby losses | 0.00054 | [-] |  | Electric boiler | industrial | 100 | 0.03 | 20 | 0.98
electr_capex | 2000 | [k€/MWe] | electrolyzer | PEM electrolyzer | CAPEX | 2000 | [k€/MWe] |  | Mixed CHP | industrial | 1400 | 0.05 | 20 | 0.4 | 0.5 | 0.05 | 1 |  |  |  | 8 | 8 | \autocite{ROBINSON_cordis_2020}
electr_om | 0.02 | [-] |  |  | O\&M | 0.02 | [-] |  | Road transport |  | $\text{C}^{\text{inv}}$ [k€/unit]
electr_lt | 7 | [years] |  |  | Lifetime | 7 | [years] |  | BEVs | residential | 48 | 0.01 | 17 | [9 empty] | \autocite{IEA_BEV_2022,sacchi2022_bev}
electr_eff | 0.57 | [-] |  |  | Efficiency | 0.57 | [-] |  | Gasoline | residential | 32 | 0.03 | 17 | [9 empty] | \autocite{IEA_BEV_2022}
electr_bos_lt | 20 | [years] |  |  | electr_bos_lt | 20 | [years]
grid_capex | 200 | [k€/MW] | grid | Grid network | CAPEX | 200 | [k€/MW] | Higher value based on Nikos's doc.
grid_om | 0.02 | [-] |  |  | O\&M | 0.02 | [-] | 66 | mt/a | 224400000000 | cubic meter
grid_lt | 30 | [years] |  |  | Lifetime | 30 | [years] | 3.4 | cubic meter/kg | 224.4 | bcm/a
fc_capex | 1700 | [k€/MW] | fuel_cell | PEM fuel cell | CAPEX | 1700 | [k€/MW]
fc_eff_e | 0.5 | [-] |  |  | Electrical efficiency | 0.5 | [-]
fc_eff_th | 0.34 | [-] |  |  | Thermal efficiency | 0.34 | [-] |  | General | Value | Unit | Refs.
fc_om | 0.04 | [-] |  |  | O\&M | 0.04 | [-] |  | Discount rate ($\gamma$) | 0.07 | [-] |  | dr | 0.07 | [-]
fc_lt | 14 | [years] |  |  | Lifetime | 14 | [years] |  | Project lifetime ($\text{L}$) | 30 | [years] |  | project_lt | 30 | [years]
h2_ves_capex | 10 | [k€/t H2] | h2_storage | Hydrogen storage | CAPEX | 10 | [k€/t H2] |  | Battery electric vehicle
h2_ves_om | 0.02 | [-] |  |  | O\&M | 0.02 | [-] |  | Consumption | 0.175 | [kWh/km] | \autocite{weiss2020energy} | bev_MWh_km | 0.000175 | [MWh/km]
h2_ves_lt | 23 | [years] |  |  | Lifetime | 23 | [years] |  | Heat storage
h2_ramp_ves | 4 | [h] |  |  | Ramp rate | 4 | [h] |  | $\Theta^{\text{min}}$ | 30 | [$^\circ$C] | \autocite{TERLOUW2019_opt_resi} | heat_stor_t_min | 30 | [$^\circ$C]
heat_stor_capex | 100 | [k€/MWh] | heat_storage | Heat storage (residential) | CAPEX | 100 | [k€/MWh] |  | $\Theta^{\text{max}}$ | 55 | [$^\circ$C] | \autocite{TERLOUW2019_opt_resi} | heat_stor_t_max | 55 | [$^\circ$C]
heat_stor_om | 0.02 | [-] |  |  | O\&M | 0.02 | [-] |  | Heat pump
heat_stor_lt | 24 | [years] |  |  | Lifetime | 24 | [years] |  | $a_0$ | 5.06 | [-] | \autocite{Fischer2017}
heat_stor_dis_loss | 0.0075 | [-] |  |  | Standby losses | 0.0075 | [-] |  | $a_1$ | -0.05 | [-] | \autocite{Fischer2017}
heat_stor_eff | 0.81 | [-] |  |  | Efficiency | 0.81 | [-] |  | $a_2$ | 6e-05 | [-] | \autocite{Fischer2017}
heat_stor_eff_ch | 0.9 | [-] |  |  | Discharge efficiency | 0.9 | [-] |  | Gasoline vehicle
heat_stor_eff_dis | 0.9 | [-] |  |  | Charging efficiency | 0.9 | [-] |  | Gasoline price | 0.05 | [euro/kWh] | \autocite{petrol_price_2022} | biogas_price | 0.05 | [euro/kWh]
heat_stor_soc_min | 0 | [-] |  |  | State of charge (Min.) | 0 | [-] |  | Liter per kilometer | 0.0018 | [k€/liter] | \autocite{IEA_gas_vehicle} | gasoline_price | 0.0018 | [k€/liter]
heat_stor_soc_max | 1 | [-] |  |  | State of charge (Max.) | 1 | [-] |  | Electric heating (in BAU)
heat_stor_t_min | 30 | [$^\circ$C] |  |  | Minimum temperature | 30 | [$^\circ$C] |  | CAPEX | 2.1 | [€/kW] | \autocite{Fleiter2016}
heat_stor_t_max | 55 | [$^\circ$C] |  |  | Maximum temperature | 55 | [$^\circ$C] |  | O\&M | 1000 | [\%] | \autocite{Fleiter2016}
heat_stor_loss_coeff | 0.001 | [-] |  |  | Loss coefficient | 0.001 | [-] |  | Efficiency | 0 | [-] | \autocite{Fleiter2016}
heat_stor_ramp | 4 | [h] |  |  | Ramp rate | 4 | [h] |  | Lifetime | 1 | [years] | \autocite{Fleiter2016}
gasif_capex | 2000 | [k€/MW] | gasification | Wood gasification | CAPEX | 2000 | [k€/MW] |  | Grid
gasif_om | 0.03 | [-] |  |  | O\&M | 0.03 | [-] |  | CAPEX | 200 | [€/kW] | \autocite{NGUYEN2019112108}
gasif_lt | 20 | [-] |  |  | Lifetime | 20 | [-] |  | O\&M | 2 | [\%]
gasif_pl_min | 0.1 | [-] |  |  | Minimum part load ratio | 0.1 | [-] |  | Lifetime | 30 | [-] | \autocite{Terlouw_h2_2022}
gasif_eff | 0.84 | [-] |  |  | Efficiency | 0.84 | [-] |  | Fuel prices
wg_ramp | 1 | [h] |  |  | Ramp rate | 1 | [h] |  | Natural gas price | 0.07 | [k€/MWh] | \autocite{ROBINSON_cordis_2020} | ng_price | 0.07 | [k€/MWh]
wg_TU | 8 | [h] |  |  | Minimum uptime | 8 | [h] |  | Wood price | 0.036647 | [k€/MWh] | \autocite{ROBINSON_cordis_2020} | wood_price | 0.036647 | [k€/MWh]
wg_TD | 8 | [h] |  |  | Minimum downtime | 8 | [h] |  | Hydrogen export price | 0.05 | [k€/MWh] | \autocite{Terlouw_h2_2022} | wood_price_res | 0.05 | [k€/MWh]
hp_capex | 4500 | [k€/MWth] | hp | Heat pump (residential) | CAPEX | 1500 | [k€/MWth] | [12 empty] | 250
hp_om | 0.01 | [-] |  |  | O\&M | 0.01 | [-]
hp_lt | 19 | [years] |  |  | Lifetime | 19 | [years]
hp_pl_min | 0 | [-] |  |  | Minimum part load ratio | 0 | [-] |  | Technology | Sub | $\underline{\text{S}}$ | $\overline{\text{S}}$ | Unit | $\underline{\text{S}$ | $\overline{\text{S}$ | min_Cap | 0
hp_supp_t | 55 | [deg C] |  |  | Supply temperature | 55 | [deg C] |  | Energy generation | [7 empty] | 5000 | keuro/ha
solar_th_capex | 4000 | [k€/ha] | solar_thermal | Solar thermal | CAPEX | 4000 | [k€/ha] |  | Solar PV |  | 0 | 20 | #REF! | 0 | 20000 |  | 2.8 | ha
solar_th_om | 0.02 | [-] |  |  | O\&M | 0.02 | [-] |  | Onshore wind |  | 0 | 10 | #REF! | 0 | 10000
solar_th_lt | 25 | [-] |  |  | Lifetime | 25 | [-] |  | Offshore wind |  | 0 | 200 | #REF! | 500 | 200000
solar_th_eff | 0.65 | [-] |  |  | Efficiency | 0.65 | [-] |  | Solar Thermal | residential | 1 | 28000 | #REF! | 5 | 28000
chp_mix_capex | 1400 | [k€/MWe] | chp_mix | Advanced CHP | CAPEX | 1400 | [k€/MWe] |  | Energy storage
chp_mix_om | 0.05 | [-] |  |  | O\&M | 0.05 | [-] |  | Battery electricity | energy | 0 | 200 | #REF! | 0 | 1000
chp_mix_lt | 20 | [-] |  |  | Lifetime | 20 | [-] |  |  | power | 0 | 200 | #REF! | 0 | 1000000
chp_mix_ramp | 1 | [h] |  |  | Ramp rate | 1 | [h] |  | Hydrogen |  | 0 | 200 | #REF! | 0 | 1000000
chp_mix_TU | 8 | [h] |  |  | Minimum uptime | 8 | [h] |  | Heat | residential | 0 | 100 | #REF! | 0 | 1000000
chp_mix_TD | 8 | [h] |  |  | Minimum downtime | 8 | [h] |  | Energy conversion
chp_mix_eff_e | 0.4 | [-] |  |  | Electrical efficiency | 0.4 | [-] |  | Electrolyzer |  | 0 | 200 | #REF! | 0 | 1000000
chp_mix_pl_min | 0.05 | [-] |  |  | Minimum part load ratio | 0.05 | [-] |  | Fuel cell |  | 0 | 200 | #REF! | 0 | 1000000
chp_mix_eff_th | 0.5 | [-] |  |  | Thermal efficiency | 0.5 | [-] |  | Gas boiler | industrial | 0 | 200 | #REF! | 0 | 1000000
chp_mix_max_h2_share | 0.6 | [-] |  |  | Max hydrogen share | 0.6 | [-] |  |  | residential | 0 | 100 | #REF! | 0 | 1000000
gb_capex | 100 | [k€/MWth] | diesel_boiler | Gas boiler (HT) | CAPEX | 100 | [k€/MWth] |  | Heat pump | residential | 0 | 100 | #REF! | 0 | 1000000
gb_om | 0.03 | [-] |  |  | O\&M | 0.03 | [-] |  | Wood gasification | industrial | 0 | 200 | #REF! | 0 | 1000000
gb_lt | 20 | [years] |  |  | Lifetime | 20 | [years] |  | Mixed CHP | industrial | 0 | 200 | #REF! | 0 | 1000000
gb_eff | 0.85 | [-] |  |  | Efficiency | 0.85 | [-] |  | Grid
gb_capex_res | 400 | [k€/MWth] | gas_boiler_res | Gas boiler (residential) | CAPEX | 400 | [k€/MWth] |  | Electricity connection |  | 0 | 22.5 | [MW] | 0 | 22500
gb_om_res | 0.03 | [-] |  |  | O\&M | 0.03 | [-] |  | Battery electric vehicle
gb_lt_res | 20 | [years] |  |  | Lifetime | 20 | [years] |  | Battery electric vehicle |  | 0 | 5.8 | [MW/vehicle]
gb_eff_res | 0.9 | [-] |  |  | Efficiency | 0.9 | [-] | [7 empty] | 5815
ng_price | 0.07 | [k€/MWh] | energy_prices | Energy prices | Natural gas | 0.07 | [k€/MWh]
diesel_price | 0.1555 | [k€/MWh] |  |  | Diesel | 0.1555 | [k€/MWh] | 36 | MJ/liter
wood_price | 0.036647 | [k€/MWh] |  |  | Wood | 0.036647 | [k€/MWh] |  | Fuels | Import | Export | Unit
wood_price_res | 0.05 | [k€/MWh] |  |  | Wood (residential) | 0.05 | [k€/MWh] |  | Hydrogen | 0 | 3.65 | [kt/year] | 1000000
h2_sell_price | 0.06 | [k€/MWh] |  |  | Hydrogen | 0.06 | [k€/MWh] |  | Waste (W) | 104.8572 | 0 | [MWh/year] | 104857.2
biogas_price | 0.05 | [euro/kWh] |  |  | Biogas | 0.05 | [euro/kWh] |  | Biomass (B) | 66430 | 0 | [MWh/year] | 66430000
gasoline_price | 0.0018 | [k€/liter] | vehicle_gasoline | Gasoline vehicle | Gasoline | 0.0018 | [k€/liter]
liter_km | 0.07 | [liter/km] |  |  | Energy use | 0.07 | [liter/km] |  | https://www.iea.org/data-and-statistics/charts/price-distribution-of-electric-cars-compared-to-overall-car-market-in-the-€pean-union-2021-2022
price_km_gasoline | 0.000126 | [k€/km] |  |  | Price | 0.000126 | [k€/km]
gas_car_capex | 32 | [k€/unit |  |  | CAPEX | 32 | [k€/unit
gas_car_om | 0.03 | [-] |  |  | O\&M | 0.03 | [-]
gas_car_lt | 17 | [-] |  |  | Lifetime | 17 | [-] |  | https://www.ssb.no/en/transport-og-reiseliv/artikler-og-publikasjoner/car-numbers-and-mileage-up
bev_car_capex | 48 | [k€/unit] | bev | BEV | CAPEX | 48 | [k€/unit]
bev_car_om | 0.01 | [-] |  |  | O\&M | 0.01 | [-]
bev_car_lt | 17 | [-] |  |  | Lifetime | 17 | [-] |  | heat
km_per_day | 35 | [kilometer] |  |  | Driving | 35 | [kilometer] |  | https://www.statista.com/statistics/686212/average-number-of-individuals-per-household-in-norway/#:~:text=Average%20number%20of%20individuals%20per%20household%20in%20Norway%202010%2D2020&text=The%20average%20number%20of%20people,were%202.15%20individuals%20per%20household.
bev_min_p_ch | 0 | [MW] |  |  | Min charging power | 0 | [MW]
bev_max_p_ch | 0.005 | [MW] |  |  | Max charging power | 0.005 | [MW]
bev_MWh_km | 0.000175 | [MWh/km] |  |  | Energy consumption | 0.000175 | [MWh/km]
heat_loss_buildings | 0.15 | [MW/K] | buildings | Buildings | Heat loss | 0.15 | [MW/K] |  | https://www.tep-energy.ch/docs/de_en/p0701_Mapping-European-Heating-and-Cooling-Demand_Results-WP2.pdf
heat_threshold | 17 | [deg C] |  |  | Heat threshold | 17 | [deg C]
cool_threshold | 21 | [deg C] |  |  | Cooling threshold | 21 | [deg C]
inside_temp | 21 | [deg C] |  |  | Inside temperature | 21 | [deg C]
transmission_loss | 1.08 | [-] |  |  | Transmission loss | 1.08 | [-]
res_home | 2.1 | [person] |  |  | Residents | 2.1 | [person] |  | https://www.tep-energy.ch/docs/de_en/p0701_Mapping-European-Heating-and-Cooling-Demand_Results-WP2.pdf
e_heating_capex | 1000 | euro/kW | electric_heating | Electric heating (residential) | CAPEX | 1000 | euro/kW
e_heating_om | 0 | [-] |  |  | O\&M | 0 | [-]
e_heating_eff | 1 | [-] |  |  | Efficiency | 1 | [-]
e_heating_lt | 30 | [years] |  |  | Lifetime | 30 | [years] |  | https://www.sciencedirect.com/science/article/pii/S030626192101148X
ws_capex | 400 | [k€/MWth] | wood_stover | Wood stover | CAPEX | 400 | [k€/MWth]
ws_om | 0.015 | [-] |  |  | O\&M | 0.015 | [-]
ws_eff | 0.9 | [-] |  |  | Efficiency | 0.9 | [-]
ws_lt | 20 | [years] |  |  | Lifetime | 20 | [years]
e_boiler_capex | 100 | [k€/MWth] | electric_boiler | Electric boiler (HT) | CAPEX | 100 | [k€/MWth]
e_boiler_om | 0.03 | [-] |  |  | O\&M | 0.03 | [-]
e_boiler_lt | 20 | [years] |  |  | Efficiency | 20 | [years]
e_boiler_eff | 0.98 | [-] |  |  | Lifetime | 0.98 | [-]
o_boiler_capex | 350 | [k€/MWth] | oil_boiler | Oil boiler (residential) | CAPEX | 350 | [k€/MWth] |  | https://www.tep-energy.ch/docs/de_en/p0701_Mapping-European-Heating-and-Cooling-Demand_Results-WP2.pdf | p.13
o_boiler_om | 0.02 | [-] |  |  | O\&M | 0.02 | [-]
o_boiler_eff | 0.85 | [-] |  |  | Efficiency | 0.85 | [-] |  | https://www.tep-energy.ch/docs/de_en/p0701_Mapping-European-Heating-and-Cooling-Demand_Results-WP2.pdf
o_boiler_lt | 20 | [years] |  |  | Lifetime | 20 | [years]
oil_price | 0.11 | euro/kWh |  |  | Oil price | 0.11 | euro/kWh
d_boiler_capex | 120 | [k€/MWth] | ds_boiler | Diesel boiler (HT) | d_boiler_capex | 120 | [k€/MWth] | Panos, commercial
d_boiler_om | 0.02 | [-] |  |  | d_boiler_om | 0.02 | [-]
d_boiler_eff | 0.85 | [-] |  |  | d_boiler_eff | 0.85 | [-]
d_boiler_lt | 20 | [years] |  |  | d_boiler_lt | 20 | [years]
|  |  |  | Technology | Parameter | Value | Unit | Ref. | Technology | Parameter | Value | Unit | Ref.
|  |  |  | Generic | Discount rate | 0.07 | [-] |  | Advanced CHP | CAPEX | 1400 | [k€/MWe]
[5 empty] | Project lifetime | 30 | [years] |  |  | O\&M | 0.05 | [-]
|  |  |  | Ground-mounted solar PV | CAPEX | 1100 | [k€/MWp] |  |  | Lifetime | 20 | [-]
[5 empty] | O\&M | 0.02 | [-] |  |  | Ramp rate | 1 | [h]
[5 empty] | Lifetime | 30 | [years] |  |  | Minimum uptime | 8 | [h]
|  |  |  | Onshore wind | CAPEX | 1700 | [k€/MWp] |  |  | Minimum downtime | 8 | [h]
[5 empty] | O\&M | 0.025 | [-] |  |  | Electrical efficiency | 0.4 | [-]
[5 empty] | Lifetime | 27 | [years] |  |  | Minimum part load ratio | 0.05 | [-]
|  |  |  | Offshore wind | CAPEX | 2700 | [k€/MWp] |  |  | Thermal efficiency | 0.5 | [-]
[5 empty] | O\&M | 0.025 | [-] |  |  | Max hydrogen share | 0.6 | [-]
[5 empty] | Lifetime | 27 | [years] |  | Gas boiler (HT) | CAPEX | 100 | [k€/MWth]
|  |  |  | Li-ion Battery | Energy capacity - CAPEX | 200 | [k€/MWh] |  |  | O\&M | 0.03 | [-]
[5 empty] | Energy capacity - O\&M | 0.02 | [-] |  |  | Lifetime | 20 | [years]
[5 empty] | Energy capacity - Lifetime | 13 | [years] |  |  | Efficiency | 0.85 | [-]
[5 empty] | Power capacity - CAPEX | 150 | [k€/MW] |  | Gas boiler (residential) | CAPEX | 400 | [k€/MWth]
[5 empty] | Power capacity - O\&M | 0.02 | [-] |  |  | O\&M | 0.03 | [-]
[5 empty] | Power capacity - Lifetime | 20 | [years] |  |  | Lifetime | 20 | [years]
[5 empty] | Depth of discharge | 0.93 | [-] |  |  | Efficiency | 0.9 | [-]
[5 empty] | State of charge (Min.) | 0.035 | [-] |  | Energy prices | Natural gas | 0.07 | [k€/MWh]
[5 empty] | State of charge (Max.) | 0.965 | [-] |  |  | Wood | 0.036647 | [k€/MWh]
[5 empty] | Roundtrip efficiency | 0.91 | [-] |  |  | Wood (residential) | 0.05 | [k€/MWh]
[5 empty] | Discharge efficiency | 0.95394 | [-] |  |  | Hydrogen | 0.06 | [k€/MWh]
[5 empty] | Charging efficiency | 0.95394 | [-] |  |  | Biogas | 0.05 | [euro/kWh]
[5 empty] | Standby losses | 0.00054 | [-] |  | Gasoline vehicle | Gasoline | 0.0018 | [k€/liter]
|  |  |  | PEM electrolyzer | CAPEX | 2000 | [k€/MWe] |  |  | Energy use | 0.07 | [liter/km]
[5 empty] | O\&M | 0.02 | [-] |  |  | Price | 0.000126 | [k€/km]
[5 empty] | Lifetime | 7 | [years] |  |  | CAPEX | 32 | [k€/unit
[5 empty] | Efficiency | 0.57 | [-] |  |  | O\&M | 0.03 | [-]
|  |  |  | Grid network | CAPEX | 200 | [k€/MW] |  |  | Lifetime | 17 | [-]
[5 empty] | O\&M | 0.02 | [-] |  | BEV | CAPEX | 48 | [k€/unit]
[5 empty] | Lifetime | 30 | [years] |  |  | O\&M | 0.01 | [-]
|  |  |  | PEM fuel cell | CAPEX | 1700 | [k€/MW] |  |  | Lifetime | 17 | [-]
[5 empty] | Electrical efficiency | 0.5 | [-] |  |  | Driving | 35 | [kilometer]
[5 empty] | Thermal efficiency | 0.34 | [-] |  |  | Min charging power | 0 | [MW]
[5 empty] | O\&M | 0.04 | [-] |  |  | Max charging power | 0.005 | [MW]
[5 empty] | Lifetime | 14 | [years] |  |  | Energy consumption | 0.000175 | [MWh/km]
|  |  |  | Hydrogen storage | CAPEX | 10 | [k€/t H2] |  | Buildings | Heat loss | 0.15 | [MW/K]
[5 empty] | O\&M | 0.02 | [-] |  |  | Heat threshold | 17 | [deg C]
[5 empty] | Lifetime | 23 | [years] |  |  | Cooling threshold | 21 | [deg C]
[5 empty] | Ramp rate | 4 | [h] |  |  | Inside temperature | 21 | [deg C]
|  |  |  | Heat storage (residential) | CAPEX | 100 | [k€/MWh] |  |  | Transmission loss | 1.08 | [-]
[5 empty] | O\&M | 0.02 | [-] |  |  | Residents | 2.1 | [person]
[5 empty] | Lifetime | 24 | [years] |  | Electric heating (residential) | CAPEX | 1000 | euro/kW
[5 empty] | Standby losses | 0.0075 | [-] |  |  | O\&M | 0 | [-]
[5 empty] | Efficiency | 0.81 | [-] |  |  | Efficiency | 1 | [-]
[5 empty] | Discharge efficiency | 0.9 | [-] |  |  | Lifetime | 30 | [years]
[5 empty] | Charging efficiency | 0.9 | [-] |  | Wood stover | CAPEX | 400 | [k€/MWth]
[5 empty] | State of charge (Min.) | 0 | [-] |  |  | O\&M | 0.015 | [-]
[5 empty] | State of charge (Max.) | 1 | [-] |  |  | Efficiency | 0.9 | [-]
[5 empty] | Minimum temperature | 30 | [$^\circ$C] |  |  | Lifetime | 20 | [years]
[5 empty] | Maximum temperature | 55 | [$^\circ$C] |  | Electric boiler (HT) | CAPEX | 100 | [k€/MWth]
[5 empty] | Loss coefficient | 0.001 | [-] |  |  | O\&M | 0.03 | [-]
[5 empty] | Ramp rate | 4 | [h] |  |  | Efficiency | 20 | [years]
|  |  |  | Wood gasification | CAPEX | 2000 | [k€/MW] |  |  | Lifetime | 0.98 | [-]
[5 empty] | O\&M | 0.03 | [-] |  | Oil boiler (residential) | CAPEX | 350 | [k€/MWth]
[5 empty] | Lifetime | 20 | [-] |  |  | O\&M | 0.02 | [-]
[5 empty] | Minimum part load ratio | 0.1 | [-] |  |  | Efficiency | 0.85 | [-]
[5 empty] | Efficiency | 0.84 | [-] |  |  | Lifetime | 20 | [years]
[5 empty] | Ramp rate | 1 | [h] |  |  | Oil price | 0.11 | euro/kWh
[5 empty] | Minimum uptime | 8 | [h] |  | Diesel boiler (industrial) | CAPEX | 120 | [k€/MWth]
[5 empty] | Minimum downtime | 8 | [h] |  |  | O\&M | 0.02 | [-]
|  |  |  | Heat pump (residential) | CAPEX | 1500 | [k€/MWth] |  |  | Efficiency | 0.85 | [-]
[5 empty] | O\&M | 0.01 | [-] |  |  | Lifetime | 20 | [years]
[5 empty] | Lifetime | 19 | [years] |  |  | Diesel Price | 0.1555 | [k€/MWh]
[5 empty] | Minimum part load ratio | 0 | [-]
[5 empty] | Supply temperature | 55 | [deg C]
|  |  |  | Solar thermal | CAPEX | 4000 | [k€/ha]
[5 empty] | O\&M | 0.02 | [-]
[5 empty] | Lifetime | 25 | [-]
[5 empty] | Efficiency | 0.65 | [-]